Oblique Display of EM Image [II]

$ Introduction

This application software can display an oblique image (Y modulation image) for an EM (electron microscope) image which is 8 bits grayscale bitmap or 16/8 bits grayscale tiff, and can save the displayed oblique image with a filename.

$ Functions

Sets parameters.

Opens an EM image file (8 bits bitmap or 16/8 bits tiff, with grayscale).

Shows an oblique image.

Copies an image to the Clipboard.

Saves an image with a filename.

Shows the version information.

(This file.)

Closes this application software.

$ Original Images

Regarding EM images, prepare bitmap images with un-compressed 8 bits grayscales or tiff images with un-compressed 16/8 bits grayscales.

[EM image size N x M:  64 <= N, M]

$ How to Use

1. Set parameters by  button.

2. Open an EM image file by  button.

3. Show an oblique image by  button.

4. Save the image by  button.

5. Copy the image to the Clipboard by  button, if necessary.

*****************************************************************************

Note: The image is not automatically saved.

Please use  button for saving the processed image.

When opening an 8 bits bitmap file, you can save the image as a bitmap file (8 bits).

When opening a 16/8 bits tiff file, you can save the image as a tiff tile (8 bits).

*****************************************************************************

$ Supplement

In the case of 16 bits grayscale tiff image, the image is displayed by 8 bits grayscale.

Even if a 16 bits grayscale tiff image is opened, its oblique image can be saved as an 8 bits image by  button.

The application software EMOBLQ95.EXE – Oblique Display of EM Image [I] – can process only bitmap images with 8 bits grayscales.  However, this application software EMOBLQ98.EXE can process bitmap images with un-compressed 8 bits grayscales or tiff images with un-compressed 16/8 bits grayscales.  This is the difference between two application software.  Regarding other points, there is no difference between them.

© Kimio Kanda