SEM Image Expansion [II] (IMGEXP98.EXE)

[Introduction]

It is sometimes necessary to make a bitmap or tiff image having the expanded area (which has a single grayscale level, or, which has a turning around image),

1. for testing the picking-up functionality of a “2n x 2n size image” for ISO/24597, or

2. for properly adding “vibration interference” or “deformation” to the image.

Original image

Images shown below are examples which have expanded areas, but central parts of images are same as the original image.

[Environment]

A PC with Microsoft Windows 98 (or later)

[Target image]

An un-compressed bitmap image (with 8 bits grayscale; width and height  64 pixels) or tiff image (with 16/8 bits grayscale; width and height  64 pixels).

[Usage]

1. Open a bitmap or tiff file by “Open BMP/TIF” button .

2. When the image is gotten, set parameters by “Set parameters” button .

Note: The width and the height of an image to be expanded can be set by using a dialog-box which is displayed by pressing this button.

3. Then, press “Expand image” button .

4. Copy the expanded image to the Clipboard by “Copy image” button .

5. And/or, save the expanded image as a file by “Save image” button .

Note: In the case of saving the expanded image, the palette of the original image is kept, even if the palette order being random.

Note: The change of parameters is effective just after getting an image by “Open BMP/TIF” button.

[Supplement]

Following are examples for deformed images by “Paint Shop Pro.”

Deformed image made by an image with expanded areas (*2)

Original image

Deformed image made by an image with NO expanded area (*1)

(*1): There are several abnormal shapes in the deformed image.

(*2): After the image deformation, a central part of the image was picked up.

You can understand the importance of expanded areas (having turning around images) when getting images with deformation (or, vibration interference).

Kimio Kanda