SEM Image Clipping [III] (IMGCUT98.EXE)

Kimio Kanda

[Introduction]

It is sometimes necessary to clip a rectangle area out of a tiff image (with 16-bit/8-bit grayscale) or a bitmap image (with 8-bit grayscale) and to save the clipped area as a 16-bit/8-bit tiff file or a 8-bit bitmap file, for testing the algorithm of software developed for the evaluation of SEM image sharpness (i.e. SEM image resolution).

Tiff image displayed by 8-bit format (reduced size)

[Environment]

A PC with Microsoft Windows 98 (or later)

[Target image]

1. An un-compressed tiff image (with 16-bit or 8-bit grayscale) or                        2. An un-compressed bitmap image (with 8-bit grayscale)

[Usage]

1. Open a tiff or bitmap file by “Open BMP/TIF” button ().

2. Set parameters by pressing “Set parameters” button ().

Note:

If putting a check-mark to the check-box “Whole image” in the group “Special clipping mode” and pressing “OK” button, the whole image displayed is clipped without pressing “Clip area” button ().

3. Clip a rectangle area by pressing “Clip area” button ().

(1) When putting a check-mark to the check-box “A” of the “Parameter setting” dialog-box, you can get a rectangle image at the center of the SEM image.

(2) When putting NO check-mark to the check-boxes “A” and “B” of the “Parameter setting” dialog-box, you can get a rectangle image at the arbitrary position in the SEM image.

In this case, a “red cross cursor” appears, if the cursor is moved into the image area.

Then, press the left button of the mouse.

Move the cursor while holding down the left button of the mouse.

If a rectangle area is determined, release the left button of the mouse.

(3) When putting a check-mark to the check-box “B” of the “Parameter setting” dialog-box, you can get a rectangle image at the arbitrary position in the SEM image.

In this case, a “red cross cursor” appears, if the cursor is moved to the image area.

Then, press the left button of the mouse.

Move the cursor while holding down the left button of the mouse.

If a rectangle area is determined, release the left button of the mouse.

After releasing the left button of the mouse, carry out the fine adjustment of the rectangle position by using arrow-keys  of the keyboard.

Finally, press an enter-key  of the keyboard.

4. Then, press “Save 16-bit TIF” button (), “Save 8-bit TIF” button (), or “Save 8-bit BMP” button () for saving the clipped image as a file.

After assigning a tiff filename to save the clipped image by using a dialog-box obtained by “Save 16-bit TIF” button or “Save 8-bit TIF” button, you can select the tiff architecture for the assigned tiff file by a dialog-box (shown left) which automatically appears.

5. The displayed image can be copied to the Clipboard as an 8-bit image by pressing “Copy image” button ().